## Blad1
Maintenance protocoll
Reference information
Circuit number
Fuse number
Drawing number
Circuit length:
Visual inspection of heating cable
No signs of moisture, or rust formation | Initial
Date
Correct electrical connections | Initial
Date
Correct earthing | Initial
Date
Electrical control of heating cable length
Megaohmtest (500V) (bypass-control) | Meg ohms
Date
Current measurement (self-limiting cable at op.temp.) Compare with mark sign or electrical drawing | Ampere
Amb.temp.
Date
Control of the resistance of the length | Resistance
Date
Control/Temperature transmittor
Temeprature control, correctly settled | Set point
Date
Transmitter in function | Initial
Date
Sealings and junction boxes, intact | Initial
Date
Control of thermal insulation
Passages in the outer sheath of the insulation, intact | Initial
Date
The insulation is complete, dry and protected for the weather | Initial
Date
Date:…………………………………………………………………….. | Signature:………………………………………………………………………….